# OUTLINE APPLICATIONS ONLY

# Surface Water Drainage Design

This checklist has been created to assist designers, by clearly defining our expectations and requirements for surface water drainage designs that are submitted to support outline planning applications – where the layout and scale of the proposed development is not being decided.

It is recommended that applicants and their designers take time, at the outset of the planning process, to familiarise themselves with the checklist and our guidance.

For details of our expectations for a fully detailed surface water drainage design, to support a full or reserved matter planning application, or an application to discharge a surface water drainage design condition, please refer to our Full Surface Water Drainage Design Checklist.

It is expected that surface water drainage information is submitted with all planning applications.  Surface water drainage information may be requested for smaller proposals where drainage is expected to affect determination – for example, in the Lidsey Wastewater Treatment Catchment.

Applicants who submit all the information requested by the checklist, as early as possible in the planning process, benefit from quicker review times and less delays caused by requests for further information.  The omission of information may lead to objection to, or refusal of planning applications or applications to discharge conditions.

Applicants for major development sites must be aware that West Sussex County Council [WSCC] acting as Lead Local Flood Authority [LLFA] are a statutory consultee for flood risk and surface water drainage design.  It is important to consult WSCC guidance in addition to our guidance and this checklist.

A major planning application is defined as:

- The creation of 10 or more residential units,

- Residential development of on a site of 0.5 hectares or more (where the number of residential units is not yet known i.e. for outline applications),

- Non-Residential development or change of use on a site of at least 1 hectare,

- Creation or change of use of 1000 square metres or more of gross floor space (not including housing).

Applicants have the option to apply for confidential pre-application advice relating to their surface water drainage design from either Arun District Council or WSCC.  Bespoke advice is not offered outside of a fee-paying application.

ADC pre-application advice: https://www.arun.gov.uk/pre-application-advice

WSCC pre-application advice: https://www.westsussex.gov.uk/roads-and-travel/information-for-developers/flood-risk-management-pre-application-advice/

| Critical Items for Detailed Surface Water Drainage Design |  |
| --- | --- |
| A detailed checklist of our requirements follows this advice. However, we highlight that the failure to adequately address the following critical items will result in an objection to an outline planning application. It is expected that if any of these items are inadequately addressed by a submission then this may render a proposed outline planning proposal unviable. |  |
| Critical Item | Reason |
| The hierarchy for sustainable drainage. | The proposed discharge method must accord with the SuDS hierarchy as given below. Evidence must be supplied to justify the proposed discharge method. - Rainwater reuse where possible. - Complete discharge into the ground (infiltration). - Hybrid infiltration and restricted discharge to an appropriate water body. - Restricted discharge to an appropriate water body. - Restricted discharge to a surface water sewer. - Restricted discharge to a combined sewer. A water body may be defined as a river, watercourse, ditch, culverted watercourse, reservoir, wetland or the sea. Where infiltration has not been adequately investigated but is proposed, a second sustainable disposal method must be identified. Engineers cannot support any proposed connection of surface water to the foul sewer. |
| Natural catchments design. | The submission must define the natural drainage characteristics within, and hydraulically linked to, the site and demonstrate that the drainage proposals will integrate with and not compromise the function of the natural and existing drainage systems. The condition, performance (including capacity where appropriate) and ownership of any existing site surface water or land drainage infrastructure must be accurately reported. Appropriate easements to watercourses and other services must be shown on all plans. Where there are areas of flood risk from any source on the site, it must be shown how a sustainable surface water drainage design can be accommodated on the site without conflicting with those areas of flood risk. The use of pumps in surface water drainage designs is not supported by our engineers. Pumping does not mimic natural flow characteristics. The risk of pump failure and flood risk that this would cause is unsustainable. |
| Proposed design. | The suggested design criteria and calculation inputs must conform to best practice, use the most recent relevant modelling data and current allowances for climate change and urban creep at the time of submission. |

# OUTLINE APPLICATIONS ONLY

# Surface Water Drainage Design Checklist

| Site Name/Address: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Application Description: |  |  |  |  |
| Policy and Guidance Information |  |  |  |  |
| Arun District Council Surface Water Drainage Guidance - https://www.arun.gov.uk/surfacewater Land Drainage Consent – https://www.westsussex.gov.uk/fire-emergencies-and-crime/dealing-with-extreme-weather/flooding/flood-risk-management/ordinary-watercourse-land-drainage-consent/ and https://www.arun.gov.uk/land-drainage-consent/ Arun District Council surface water pre-commencement conditions - https://www.arun.gov.uk/planning-pre-commencement-conditions The SuDs Manual [C753] by CIRIA Sustainable drainage systems: non-statutory technical standards’ https://assets.publishing.service.gov.uk/media/5a815646ed915d74e6231b43/sustainable-drainage-technical-standards.pdf |  |  |  |  |

Ground Investigation Results

Ideally site-specific ground investigation results - to support a desk study - will be submitted with an outline planning application. If infiltration is proposed at the outline planning application stage and there are no winter infiltration tests and winter groundwater monitoring available to prove that the strategy is viable, then alternative proposals for discharge must be provided. This will ensure that if subsequent site-specific winter ground investigations show that infiltration is not possible, then the site can still be sustainably and effectively drained. If there are no alternative sustainable means of disposing of surface water, apart from using infiltration, then site-specific winter ground investigation results are essential prior to determination. Groundwater monitoring ☐ Plan showing location of monitoring points. ☐ Depths of holes detailed. ☐ Dates of observations and depth to groundwater recorded. ☐ Evidence of the strata within borehole or monitoring pits. Requested to aid speed of assessment ☐ Plan showing the peak groundwater levels at each monitoring point in mAOD. ☐ Peak groundwater levels recorded in m below ground level and mAOD. ☐ If in an area of possible tidal influence, provide a comparison of readings against tide times/levels. Infiltration testing ☐ Completed strictly in accordance with BRE DG 365, CIRIA R156 or a similar approved method. ☐ Plan showing location of trial pits provided. ☐ Pit dimensions provided. ☐ Depths of testing provided. ☐ Dates, times and readings of each test recorded. ☐ Calculations for the infiltration rate for each test provided. ☐ Evidence of the strata within trial pits provided. ☐ Test locations, and depths correspond with the expected location and depths of proposed infiltration features. Requested to aid speed of assessment ☐ Depths of testing provided in m below ground level and mAOD. Other As appropriate, dependent upon specific site conditions ☐ Geotechnical advice relating to the siting of infiltration features and risk of dissolution. (Usually where chalk strata is evidenced.) ☐ Geotechnical advice relating to the risk of slope instability due to infiltration. ☐ Geotechnical and structural advice where infiltration is proposed closer than 5m to buildings or structures. ☐ Contamination evaluation assessment where infiltration is proposed in ground that may be contaminated. ☐ Geotechnical advice where infiltration is proposed into made ground (to be generally avoided). ☐ Geotechnical advice relating to infiltration capacity, and risk of settlement or instability where careful use of ground raising is proposed.

Surface Water Drainage Statement

Disposal method ☐ Rainwater reuse is proposed where possible. ☐ Infiltration is proposed and maximised wherever possible. ☐ Where infiltration has not been adequately investigated but is proposed, a second sustainable disposal method has been identified. ☐ Hybrid infiltration and restricted discharge to an appropriate surface water body is proposed where a full infiltration design is not possible. ☐ Restricted discharge to a water body is proposed where an infiltration design is not possible. ☐ Restricted discharge to a surface water sewer is proposed where an infiltration design is not possible and there are no nearby water bodies. ☐ Restricted discharge to a public or private highway drainage network is proposed where an infiltration design is not possible and there are no nearby water bodies or surface water sewers. ☐ Restricted discharge to a public combined sewer is proposed where an infiltration design is not possible and there are no water bodies, surface water sewers, highway, or private drainage systems nearby. Disposal method justification ☐ Infiltration has been adequately investigated, in winter, at appropriate and varying depths where appropriate, above peak recorded winter groundwater levels at the given location. ☐ Onsite and boundary, open and culverted water bodies are investigated (location, mapping, network, flow direction, ownership/responsibility, depth, and condition). ☐ Offsite nearby downstream water bodies are investigated (location, mapping, network, flow direction, ownership/responsibility, depth, and condition). ☐ Surface water sewer network is investigated (location, mapping, network, flow direction, ownership/responsibility, depth, capacity, and condition). ☐ Public and private downstream highway drainage networks are investigated (location, mapping, network, flow direction, ownership/responsibility, depth, capacity, and condition). ☐ Combined downstream sewer network is investigated (location, mapping, network, flow direction, ownership/responsibility, depth, capacity, and condition). ☐ Any relevant permissions or legal agreements from asset or landowners that are needed are identified and evidence of permission in principle provided. Requested to aid speed of assessment ☐ Any previous relevant correspondence or pre-application advice from the Local Planning Authority [LPA] or the Lead Local Flood Authority [LLFA] regarding the surface water drainage design is included with the statement. Existing Site Essential ☐ It is clear what the natural drainage characteristics of the site and hydraulically linked areas are. ☐ Natural flow paths are identified on a plan (where applicable). ☐ Existing site drainage features are investigated – condition, performance, and ownership. ☐ Environmentally sensitive receiving water bodies are identified – for example groundwater source protection zones. ☐ 3m easements shown from the top of the bank of all ordinary watercourses, and from the edge of all culverted watercourses on all plans. ☐ 8m easements shown from the top of the bank of all main rivers on all plans - unless an alternative easement has been stipulated by the Environment Agency. ☐ Any appropriate easements as stipulated by any public or private utility provider shown on all plans. It is suggested that the above is achieved with the following, which may be combined where appropriate: ☐ An existing topographical plan. ☐ An existing drainage catchment plan. ☐ An existing site surface water drainage plan (where applicable). ☐ Flood maps (fluvial, tidal, pluvial, groundwater, sewer, and reservoir) are supplied (or FRA referred to). ☐ Confirmation and surveys of any existing drainage infrastructure on the site. ☐ Full details of any known flooding on the site. Proposed Design ☐ Statement confirming the proposed design criteria including fixed design calculation inputs for the SuDS system. Examples include: - Climate change allowances, - Urban creep, - CV values, - Rainfall data, - MADD factor or additional storage ☐ Natural catchments can be followed. ☐ Existing drainage features are considered, used, or protected where appropriate. ☐ Relevant restrictions relating to discharging to an environmentally sensitive receiving water body – for example a groundwater source protection zone - are investigated and reported. ☐ It is shown how a surface water drainage design will not conflict with additional areas of flood storage or compensation. ☐ The design is committed to the use of multifunctional SuDS to meet community and environmental requirements. ☐ It is confirmed what the adoption arrangements for SuDS components will be. ☐ It is confirmed what elements of the SuDS will be private. ☐ Details of necessary off-site works and ‘in principle’ consents are provided.

This checklist is designed to aid an applicant with their submission.  The list is not exhaustive, and our engineers may request additional information to enable them to review a proposal to their satisfaction.

Where an outline planning application proposes to determine more than the principle of development and access, the applicant is encouraged to refer to our full detailed design checklist for more information on what may be required.

The checklist may also request information that an applicant does not feel is relevant to their submission.  In this case the applicant can provide an explanation as to why they have omitted certain information in their drainage statement.   However, the appraising engineer reserves the right to request this information if they believe it is necessary for their review.